## Glossary
Term | Definition
Clear tender | The action performed when energy is delivered and paid for
Energy Services Interface (ESI) | Bi-directional, logical, abstract interface that supports the secure communication of information between internal entities (i.e., electrical loads, storage and generation) and external entities. It comprises the devices and applications that provide secure interfaces between ESPs and customers for the purpose of facilitating machine-to-machine communications.
Extent | Geographic, organizational, political arena. Examples: a single utility, building, or campus, political boundaries, topology of an electrical infrastructure including end-users, transmission, distribution, or both; managing energy within buildings or by end-users of electrical energy.
Market | An instance of a platform for a specific electric product.
Market Context | All of the parameters and rules that describe a market- market mechanism, extent, rules, credit requirements, etc.
Market Facilitator | Operates platforms and markets, registers Participants, records and facilitates communication of tenders and transactions, supports price discoveries, metering and payments. There can be more than one market facilitator with different roles. Responsible for balancing the network
Market Maker | Helps balance market and improves market liquidity by issuing buy and sell tenders. The Market Maker is also a Market Participant.
Market Participant | An entity that participates in transactions for the electric products. It is a legal entity that can interact directly or through an agent to represent a device, building, DER, EV, microgrid, or system of microgrids, utility, ISO who can provide or take energy or transport services. A Participant may be registered to participate in one or more markets
Tender | Price for a quantity at a location, time and duration.
Transaction | Acceptance of tender at agreed price and quantity at a location and time period.
Transport | Represents the electrical path from the participants to the grid. In a FractalGrid, this may represent market participants who are on the path between a buyer and seller.
Transport Facilitator | Maintains the network topology and provides it as a service to market participants and the market facilitator (Not a formal TE construct)
Control System | Provides control capability, should have the ability to override market or operate autonomously in adverse conditions
Transactive Interval | The start and duration that a transaction event occurs
References
http://www.gridwiseac.org/pdfs/te_framework_report_pnnl-22946.pdf
http://collaborate.nist.gov/twiki-sggrid/pub/SmartGrid/EnergyServicesInterface/EnergyServicesInterfaceWhitePaper_V1_0.pdf
http://www.amazon.com/Transactive-Energy-Sustainable-Regulatory-Electricity-ebook/dp/B00OW9SFHA

## Join Market
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | The Market Facilitator shall provide a login mechanism |  |  |  | EiRegisterParticipant Service
1200 | The Market Facilitator shall be able to examine the provided Market Participant credentials |  |  |  | EiRegisterParticipant Service
1300 | The Market Facilitator shall provide a response to the Market Participant when credentials are examined |  |  |  | EiRegisterParticipant Service
1400 | The Market Facilitator shall add the Market Participant to the registry if credentials are accepted |  |  |  | EiRegisterParticipant Service
1500 | The Market Facilitator shall maintain a registry of Market Participants |  |  |  | EiRegisterParticipant Service
1600 | The Market Facilitator shall maintain a mechanism for adding Market Participants |  |  |  | EiRegisterParticipant Service
1620 | The Market Faciliator shall maintain metadata regarding the Market Participant |  |  |  | EiReport Service
1640 | The Market Facilitator shall maintain a mechanism for setting passwords for Market Participants |  |  |  | EiRegisterParticipant Service
1660 | The Market Faciliator shall maintain a mechanism for resetting passwords for Market Participants |  |  |  | EiRegisterParticipant Service
1700 | The Market Facilitator shall maintain a mechanism for removing Market Participants |  |  |  | EiRegisterParticipant Service
1800 | The Transport Facilitator shall maintain the active network topology
1900 | The Market Participant shall send credentials to Market Facilitator |  |  |  | EiRegisterParticipant Service
2000 | The Market Participant shall maintain a session with the Market Facilitator if credentials are accepted
2100 | The Market Facilitator shall provide an explanation message when Market Participant's credentials have failed

## Accept Power
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Power purchasing Market Participant shall engage loads to meet incoming transacted power
1200 | Power purchasing Market Participant shall disengage loads when transport is not provided.
1300 | Market facilitator shall have the ability to remove access to market participants who do not meet transacted agreement

## Provide Power
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Selling Market Participant shall produce power or shed loads as necessary to meet outgoing transacted power | CS: This could be discharging energy storage, RE generation, or load shedding
1200 | Sellling Market Participant shall curtail generation, engage loads, utilize storage capacity or utilize a load bank to consume power when transport is not provided
1300
1400
1500
1600

## Provide Meter Data
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Market Participant shall provide meter data as specified by market context asynchronously at the conclusion of the event |  |  |  | eiDelivery
1120 | Market Participant shall provide meter data to Transport Facilitator
Transport Facilitator shall provide Market Participant a success notification upon receipt of data
1140 | Market Participant shall provide meter data to Market Facilitator
Market Facilitator shall provide Market Participant a success notification upon receipt of data

## Tender Tender
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Market participant shall generate a tender at each negotiation time step
1120 | Market participant shall have the ability to generate a (binding) tender
1140 | Market participant shall have the ability to generate a (non-binding) indication of interest tender
1160 | Market participant shall have the ability to parse a (binding) tender
1180 | Market participant shall have the ability to parse a (non-binding) indication of interest tender
Market participant shall have the ability to accept a binding tender.
Market participant shall have the ability to accept a portion of a binding tender.
Market participant shall validate the contents of the tender against price and power needs
Market participants shall update their tender in a way that conforms to market rules
1200 | Market facilitator shall have the ability to create tenders as a method of indicating the current price
1220 | Market Facilitator shall provide a tender to Market Participants at each negotiation time step
1240 | Market Facilitator shall update tenders in a way that considers network feasibility constraints
1260 | Market Facilitator shall update tenders in a way that conforms to market rules
1300 | The Market facilitator shall allow participants to provide elasticity information at the current tender at each negotiation time step. |  | Can take the form of directional (derivative) information
Market facilitator shall have the ability to process elasticity information as part of processing tenders.
Assumption: sufficient network capacity exists to complete transaction
Assumption: there is no supplier/consumer failure
Assumption: market participants only offer tenders on products they can provide

## Accept Transaction
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Market Facilitator shall clear the market when bids and tenders have converged
Market Participant shall notify the other Market Participant of accepted transaction
Market Participant shall notify the market facilitator of accepted transaction
Market Facilitator shall record the transaction
Market Participant shall update the energy forecast based on accepted transaction
1200 | Market Facilitator shall clear the market at the end of the market period
Market Facilitator shall notify Market Participants of market clearing
1300 | Market Facilitator shall reject all outstanding tenders if there is a market fault (e.g., liquidity failure, convergence failure)
How does the bilateral transaction pass throught the market facilitator? what does the market facilitator know and when?
Do all tenders go through the MF or are the tenders being recorded in parallel?

## Determine Price
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Market participant shall know their local Real Power output, voltage angle, and frequency
1120 | Forward market participant should have the ability to forecast real power input - what may be needed in relevant future time intervals
1140 | Forward market participant should have the ability to forecast real power output - what may be available to sell in relevant future time intervals
1200 | Market participant shall define a convex utility function which maps the price to power
1220 | Market participants shall have the ability to determine their elasticity information at the current price and set points with respect to local generation and consumption constraints | This is essentially the derivative of the utility function defined in 1200, and it allows the market participant to update their bid optimally without violating any generaion, consumption, or charging constraints
1240 | Market participant shall have the ability to change the mapping over time in response to microgrid status
1260 | Market participant shall have the ability to change the mapping over time in response to the current market

## Provide Report
ID | Requirements | Notes | T/O | Priority | Correlating EI Service
1100 | Market Facilitator shall have the ability to provide a report of market activity | CS: Mechanism? Location?
1200 | Market Facilitator shall have the ability to report discrepancies between transacted values and actual values
1250 | Market facilitator shall create spot transactions to settle discrepancies
1300 | Market Facilitator shall have the ability to settle monetary transactions for a specified time period
1400 | Market Faciliator shall publish current active tenders
1500 | Transport facilitator shall provide the network configuration at a relevant point in time
1600 | Market Participant shall have the ability to provide a report of transactions
Market Participant shall have the ability to shadow settlement calculations to cross-check and to support disputes
1700 | Market Participant shall have the ability to provide a report of meter activity related to a specific transaction